According to provisions of Article 19 of the Articles of Association the Board of the joint-stock company Nexe d.d. Našice at its meeting held on 05.02.2025. issued the following

GENERAL CONDITIONS OF WORK SAFETY, FIRE PROTECTION, ENVIRONMENT PROTECTION AND ENERGY EFFICIENCY  – FOR CONTRACTORS

I.

These General conditions of  work safety, fire protection, environment protection and energy efficiency , i.e. the Rules of Conduct listed below represent general business terms that are applied to all contractors and service providers on all locations where NEXE d.d. and all NEXE Group members  operate (further: NEXE Group) , e.g. factory premises, plant, construction site, workshop, warehouse (further:  locations).

II.

Rules of conduct for contractors:

|  | Strictly comply with the regulations on work safety, fire protection and environmental protection prescribed by law and acts and procedures of the NEXE Group, and also be responsible for their subcontractors |
| --- | --- |
|  | For the needs of the NEXE Group, enable the implementation of internal and external audits within the location, according to the rules of the NEXE Group |
|  | Prior to the start of the works, appoint a person responsible for supervising the health and safety of all their employees and employees of subcontractors |
|  | Employees of the contractor and its subcontractors must possess medical certificates and all other prescribed certificates and certificates of qualification |
|  | All employees of the contractor and its subcontractors at the location must have and use all necessary protective equipment aligned with NEXE Group norms |
|  | The contractor undertakes to perform all tasks with special risk/dangers in accordance with risk assessments, work instructions and work permits from NEXE Group |
|  | The contractor undertakes to carry out the transportation of people and cargo within the locations by applying positive regulations and using all safety elements and warning signs |
|  | In the event of an injury at work suffered by an employee of the contractor and his subcontractor at the site, the contractor is obliged to immediately and without delay notify an authorized person or employee of NEXE Group |
|  | The contractor undertakes to release NEXE Group from any responsibility in relation to work injury and damage suffered by workers or third parties, and to compensate the full amount of damage caused by its employee or a subcontractor's worker on the part of NEXE Group or third parties |
|  | Prior to start of the work, the contractor must submit a statement to the NEXE Group that he has entered into employment contracts with the workers performing the work, that he has a valid work permit for foreign workers, and that he guarantees that the workers are duly registered for pension, health and disability insurance, also applicable to his subcontractors |
|  | If, in accordance with the regulations, the contractor is required to draw up a work execution plan, he is obliged to submit the same plan to the authorized person of NEXE Group before the start of the works and appoint a work saftey coordinator during the work execution phase |
|  | Before performing the works, submit to the NEXE Group a list of workers who will work on the performance of the works and a statement about their qualifications, working ability, passing the necessary professional exams and training to work in a safe manner |
|  | The contractor is obliged to equip his workers and the workers of his subcontractors with prescribed personal protective equipment, according to the dangers to which they are exposed |
|  | The contractor is obliged to clearly mark his own machines, devices, equipment and employees so that they differ from NEXE Group and other contractors |
|  | The contractor is obliged to implement safety at work for his part of the work, organize work and ensure execution so that his workers do not endanger their own health and safety, health and safety of the workers of NEXE Group and other contractors |
|  | The contractor is obliged to familiarize himself with and comply with the safety rules of the NEXE Group at the location, and to inform his workers and subcontractors about the safety rules and supervise their proper application |
|  | The contractor and all persons referred by the contractor must register at the gatehouse when entering and leaving the location |
|  | The execution of works on the location must be in accordance with all regulations on environmental protection, especially the applicable requirements for the environment, waste management, air protection, ozone layer protection, chemicals, noise, in accordance with valid regulations |
|  | All waste generated during the performance of works or services in which the contractor uses materials, parts, packaging, etc. from (the property of) members of Nexe Group is managed in such a way that the external contractor reports the waste immediately upon its generation to the responsible person in the Nexe Group member company, which is obliged to manage it in accordance with the legal regulations governing waste management and environmental protection, unless otherwise agreed in the contract. |
|  | With all waste generated as a result of the performance of works or services in which the contractor uses materials, parts, packaging, etc. which is his property, the external contractor is obliged to manage the generated waste in accordance with the legal regulations governing the area of ​​waste management and environmental protection, unless otherwise agreed in the contract. |
|  | The contractor on a construction site, when the owner or user of a building or part of a building located on that construction site, or the investor, has transferred ownership of construction waste to him by contract (in accordance with the implementing regulation governing the management of construction waste and waste containing asbestos), is obliged to ensure that construction waste and/or waste containing asbestos and other waste generated on the construction site as a result of the performance of the works is handed over to an authorized person and that the same is handled during the performance of the works in accordance with the legal regulations governing the management of construction waste and waste containing asbestos. |
|  | If materials are used that generate waste that is subject to a special obligation of recovery and/or disposal, the contractor must notify the authorized person of the NEXE Group in writing at the time of accepting the job, and if he has not assumed the obligation to hand over such waste to the authorized person for collection and/or recovery and/or disposal of waste by contract, and has failed to notify the authorized person of the NEXE Group, he is obliged to compensate all costs of handing over the waste to the authorized persons for waste management and to compensate any damage caused by improper handling of waste that occurred during the performance of the contractor's activities or improper disposal or improper release into the environment of the waste in question. |
|  | All mixed municipal waste generated during the performance of work by external contractor workers is required to be sorted and disposed of in containers located within the business premises of a member of the NEXE Group intended for temporary storage of mixed municipal waste, marked with the waste code 20 03 01 and the name mixed municipal waste. |
|  | A contractor performing work involving work with refrigeration and air conditioning equipment containing controlled substances and/or fluorinated greenhouse gases and/or performing activities as an authorized person for servicing and checking the permeability of refrigeration and air conditioning equipment is obliged to act in a manner that prevents the leakage of fluorinated greenhouse gases and/or controlled substances that damage the ozone layer. If the relevant working substances are released into the environment, whether intentionally or unintentionally, by the contractor, the contractor is immediately obliged to prevent the release of these substances into the environment and to inform the responsible person in the NEXE Group member without delay |
|  | The contractor's employees are obliged to keep the workplace tidy, especially to take care that after the end of the work, the safety components of the plant and equipment are left in a correct and safe condition, applying the regulations and rules of the profession |
|  | The contractor undertakes, prior to the execution of the works, to ensure that the responsible person and the workers sign a declaration stating that they will comply with the instructions on environmental management and that they are familiar with the dangers and possible negative impacts on the environment, as well as with the dangers and obligations related to occupational safety |
|  | In the event of intentional or unintentional environmental pollution of a minor scale, which occurred as a result of the performance of the works, the contractor is obliged to: - immediately and without delay notify the authorized (responsible) person of the NEXE Group (who will then act in accordance with the legal regulations in the field of environmental protection), - the responsible person of the NEXE Group is obliged to notify the person responsible for environmental protection and the production director about that event - immediately stop the work without delay, secure the site and take measures to prevent further pollution, take measures to prevent the spread of pollution into environmental components (soil, air and water) and measures to prevent further damage, and localize the pollution, prevent its spread into the environment, provided that it takes reasonable measures to eliminate the risk of damage or prevent damage to the environment. - in the case of the environmental pollution in question (which occurred as a result of the contractor's work), the contractor is obliged to carry out the complete remediation of the environmental pollution through an authorized person at its own expense and in full - at its own expense and in full, hand over all waste resulting from the remediation of the polluted environment to the authorized person for the management of such waste, along with the prescribed documentation that must accompany the waste flow. - upon completion of the remediation, the contractor is obliged to submit to the responsible person of the NEXE Group all documentation related to the remediation of the pollution in question (Records, Waste Accompanying Sheets, etc.) |
|  | In the event of intentional or unintentional environmental pollution of a large scale and/or a major accident resulting from the performance of works, which may lead to a major accident and endanger human life and health, the contractor is obliged to: - immediately and without delay inform the authorized (responsible) person of the NEXE Group (who then acts in accordance with the legal regulations in the field of environmental protection and safety and security), - the responsible person of the NEXE Group is obliged to inform the person responsible for environmental protection, the person responsible for handling emergency situations and the production director, who will then decide on the measures to be taken in relation to informing the competent services and the coordination and measures to be taken to secure the scene of the incident, prevent environmental pollution, remediation measures and/or measures to protect human health - immediately stop the work without delay, secure the scene of the incident and take measures to prevent further pollution, take measures to prevent the spread of pollution to environmental components (soil, air and water) and measures to prevent further damage and localize the pollution, provided that it takes justified measures to eliminate the risk of damage or prevent the occurrence of damage to the environment - in the event of major environmental pollution (which occurred as a result of the contractor's work), the contractor is obliged to carry out the complete remediation of the environmental pollution through an authorized person at his own expense and in full - at its own expense and in full, hand over all waste resulting from the remediation of the polluted environment to the authorized person for the management of that waste, along with the prescribed documentation that must monitor the flow of waste in accordance with the legal regulations governing waste management. - upon completion of the remediation, the contractor is obliged to submit to the responsible person of the NEXE Group all documentation related to the remediation of the pollution in question carried out by the authorized person for the remediation of pollution (Records, Waste Accompanying Sheets, etc.) |
|  | The contractor is obliged to handle materials, parts, and especially lubricants (oils and greases) and hazardous chemicals in a manner that does not cause soil and/or water pollution. It is strictly prohibited to discharge chemicals, lubricants, waste lubricants or any other waste into waterways, drainage, sewerage and/or soil |
|  | The contractor is obliged to take into account the goal of increasing energy efficiency, i.e. energy consumption, which should be minimal, and to this end ensure that energy and environmentally friendly machines and equipment are used |
|  | The contractor undertakes to inform the authorized person of the NEXE Group about visible and audible leaks of air, gases, etc. and to ensure the tightness of hose and pipeline connections, couplings, sliders, both their own and those of the NEXE Group |
|  | The contractor is obliged to ensure that energy-consuming tools (technical gases, oils and fuels, compressed air, electricity, water, light, etc.) are used only for as long as necessary to complete the work |
|  | For tasks performed by a larger number of workers and more complex tasks, the contractor undertakes to provide a work manager on site before the start of the work |

III.

The area of ​​the NEXE Group location may be under video surveillance to monitor compliance with the rules set forth in this instruction, or by personal surveillance by NEXE Group employees or external security services at the location (authorized persons). A minutes  shall be drawn up on the committed violation, signed by the authorized person who determined the violation. The minutes  shall specify the time and place of the commission, the violation with reference to the described behaviors from point IV. of these General Terms and Conditions, the name of the legal entity of the contractor, and the name and surname and other data of the responsible person of the contractor, subcontractor, or employee who committed the violation, and if the violation was committed by a vehicle: the vehicle registration plate, the name or name and surname of the legal or natural person who owns the vehicle, the name and surname of the perpetrator (driver) by reviewing the identity card if the data is available. The minutes  shall be submitted to the management of the company - a member company of NEXE Group, which shall issue an order for the financial debiting of the service provider.

IV.

For behavior contrary to the above rules, the contractor, as a contracting party, will be charged a contractual penalty, which does not exclude the right to compensation for damages, in the amounts as follows:

| CONDUCT OF THE CONTRACTOR AGAINST THE RULES OF THE NEXE GROUP: | Debit amount in EUR |
| --- | --- |
| Failure to submit mandatory documentation before the start of work | 130,00 |
| Failure to use personal protective equipment | 130,00 |
| Not using handrails | 130,00 |
| Failure to keep the work area tidy | 130,00 |
| Handling work machines and devices without the necessary knowledge, skills, training and qualifications | 260,00 |
| Performing dangerous work that does not comply with safety procedures and without a work permit | 260,00 |
| Leaving the workplace without first returning protective devices and safety systems | 260,00 |
| Failure to secure moving machinery against accidental or intentional starting | 260,00 |
| Failure to report an injury at work in a timely manner | 260,00 |
| Walking outside the marked safety routes on roads | 260,00 |
| Failure to observe the basics of safe driving | 260,00 |
| Defective scaffolding for the execution of works | 260,00 |
| Working at heights without prescribed protective equipment | 660,00 |
| Working under the influence of alcohol or intoxicants | 660,00 |
| Work on mobile plants without insurance against their uncontrolled start-up | 660,00 |
| Working in a high-voltage plant without a work permit, without observing safety procedures and legal regulations and the rules of the NEXE Group | 660,00 |
| Improper waste handling and disposal of waste into the environment (in violation of legal regulations in the field of waste management and environmental protection) | 300,00 |
| Improper handling of lubricants (oils and greases) and chemicals | 350,00 |
| Improper handling of devices containing refrigerants that damage the ozone layer | 300,00 |

In addition to the financial charge, the contractor, his subcontractor, or their workers, may be temporarily removed from the location and/or they may be prohibited from any further arrival and entry to the location.

V.

These General Terms and Conditions are publicly posted at the entrance to the NEXE Group's premises, or on the company's website: https://www.nexe.hr/, and in the case of written contracts for the performance of works with suppliers and accompanying services, they form an integral part of such contracts.